## Slide 1: Atmospheric/Oceanic Analyses and Predictions to Support the Wind Energy Development Application Process Defined in NJBPU’s Offshore Wind (OSW) Renewable Energy Rules (N.J.A.C. 14:8-6): Phase III—24 Jun 2014-23 Jun 2015 Innovative Analytical/Predictive Modeling Applications that will Cost- Effectively Reduce the “Risks” Associated with Offshore Wind Development Issues Including Wind Resource Variability, Energy Transmission/Distribution Reliability, Environmental/Health Impact, and Educational/Economic Development Incentives
Notes: Insert turbine picture

## Slide 2: Outline
Phase I (Completed): Develop monitoring/modeling program for climatology, variability in NJ coastal/offshore wind resource
  Monitoring: Sea surface currents (CODAR), Sea surface temperatures (satellite SSTs), met towers, buoys
  Modeling: RU-WRF atmospheric modeling program (incl. validation)
Phase II (Current): (Hypothetical) offshore wind parks in North/South BOEM NJ WEA zones
  Hourly wind power production for input into RU CEEEP models
  Siemens (and Alstom) Offshore 6MW WTG specs (Total capacity 1100, 2000, 3000 MW)
  Averaged 5-6-7 MW WTG, use info. submitted by 10? OSW developers to BOEM/NJBPU for OSW farm total capacity and location (distance offshore, north/south zone)
Phase III (Proposed): (Actual) proposed offshore wind parks in North/South lease zones (contingent on NJ OREC, BOEM NJ WEA lease auction, NJ OSW application process)
  Task 1: Refinement and upgrade of wind resource modeling (high res LES), monitoring (upgrade satellite SST, SODAR/LIDAR )
  Task 2: Provide hourly annual data to RU CEEEP
  Task 3: Sea breeze and local wind circulation analyses
  Task 4: Automate/couple RU-WRF results to RU CEEEP
  Task 5: Severe weather analyses (climate change)
  Task 6: Progress reports
  Task 7: Presentations, meetings, calls

## Slide 3: Domain and WTG Size
North Zone
South Zone
6 MW WTG

## Slide 4: Task 1
SODAR
LIDAR
Large-Eddy Simulation (LES)
Velocity
Turbulence Intensity
Kinematic Shear Stress
Modeling/Monitoring Upgrades

## Slide 5
Meteorological Tower
Meteorological Buoy
Offshore vertical LIDAR
Coastal/Offshore Scanning LIDAR
Infrared Satellite
Coastal Radar (CODAR)
Task 1
Notes: Fishermen: already deployed monitoring buoy, once done go to one 10 nm out
-purchased offshore vertical lidar, measure wind spd, dir, turbulence, deployed in June
-bought scanning lidar, deployed at end of summer
-bought wind tracer near Margate, see 10 nm offshore, in vertical
-2-3 60m met towers along coast, instrumented at 3 levels
Offshore Megawatt (German): no monitoring, rely on our study
Bluewater Wind: claim deploying monitoring sites at end of summer
Garden State Offshore Energy (part PSEG, part Deepwater Wind): vertical lidar on buoy, validate in Rhode Island, target this summer with LIDAR

## Slide 6: Task 1
Offshore vertical LIDAR
Coastal/Offshore Scanning LIDAR
Notes: Fishermen: already deployed monitoring buoy, once done go to one 10 nm out
-purchased offshore vertical lidar, measure wind spd, dir, turbulence, deployed in June
-bought scanning lidar, deployed at end of summer
-bought wind tracer near Margate, see 10 nm offshore, in vertical
-2-3 60m met towers along coast, instrumented at 3 levels
Offshore Megawatt (German): no monitoring, rely on our study
Bluewater Wind: claim deploying monitoring sites at end of summer
Garden State Offshore Energy (part PSEG, part Deepwater Wind): vertical lidar on buoy, validate in Rhode Island, target this summer with LIDAR

## Slide 7
Chesapeake Light Tower
Martha’s Vineyard ASIT
Current
Future
Task 1

## Slide 8: Task 2
Hourly Wind Data to RU CEEEP

## Slide 9: Task 3
Sea breeze and local wind analyses

## Slide 10
1. Hourly
Wind
Speeds
IMCS
2. Hourly
Wind
Turbine
Energy
Production
(MWh)
IMCS
3. PJM
Energy UC &
Dispatch
(Dayzer)
CEEEP
Other Inputs:
Turbine size, manufacturer and power curve (relationship between wind speed (and other factors?) and power production)
Turbine location and wake effect
Size of wind farm (MW)
Injection point(s) into electricity grid (radial and with AWC)
Couple/automate data transfer flow
Task 4

## Slide 11: Task 5
Scenarios of Possible Severe Weather Events (IMCS)
Engineering-Economic Cost-benefit Analysis of Utility Hardening (CEEEP & Engineering Subcontractor)
Characterization of NJ Macro-economic Impacts (RECON)
Hurricane Sandy “What If” Scenarios
Landfall in August
Landfall at Delmarva Peninsula
  NJ Nuclear plant concerns
Severe Weather Analyses

## Slide 12: Tasks 6 and 7
Progress Reports
Website, Presentations, Meetings
Reports, talks, meetings, calls